## Sheet1
GMTS:
HAND NEEDLE DETECTOR CALIBRATION LOG | [8 empty] | Broken Time:
Operation:
Date:
Remarks: Needle Detector Must verify the calibration and accuracy every 2 - day Before lunch & After Lunch working
including overtime work by using the 1.2 mm sphere ferrous checks card to check the macine sensativity.
CROSS SECTION OF NEEDLE DETECTOR TUNNEL
Before Lunch |  | 1 |  | 2 |  | 3
Afetr Lunch |  | 1 |  | 2 |  | 3
1. Switch on of the machine and adjust sensitivity level to less then 1.2 mm sphere.
2. The needle detection should be activated (alarming).
3. Repeat the procedure 1-3 with position the 1.2mm sphere ferrous card onto the conveyor Hand metal.
4. Time Before lunch & after lunch.
5. The needle detection should be activated (alarming) also.
|  |  | Before Lunch |  |  | After Lunch |  |  | Opoerator's Signature | QAM/FM
Date | Time | Buyer | 1 | 2 | 3 | 1 | 2 | 3 |  | Date | Sign
"Y" The needle detection activate (alarming) when 1.2 mm ferrous card pass through the serch head
"N" The needle detection no reaction (not alarming) when 1.2 mm ferrous check card pass through the serch head.
Authorized Signature