## Sheet1
METAL DETECTOR CALIBRATION AND CONTAMINATION LOG SHEET
Supplier: ____________________________
PN No. ______________ Item No. ______________ P.O. No. _____________ Qty. _______________ Del. __________________
DATE | TIME START | TIME FINISH | DETECTED QTY | PRODUCT STAGE | RESULT |  | CONTAMINANT POSITION | CONTAMINANT (MOUNTED ONTO RECORD) | FOUND ALL CONTAMINANT |  | ACTION TAKEN | SIGNATURE | REMARKS
[5 empty] | PASS | FAIL |  |  | YES | NO
REMARKS: 1) EACH GARMENT MUST BE DETECTED PIECE & LAYFLAT
[9 empty] | SUPERVISOR: |  |  | DATE:
| 2) | MACHINE TYPE AND MODEL | [6 empty] | _________________ |  |  | _________________
| 3) | CALIBRATION TESTING-9POINTS (USE FERROUS METAL STANDARD 1.0 MM DIAMETER)