HOT WORKS Permit Decision Tree

- Is there an acceptable alternate to HOT WORKS?

Complete job with COLD WORK. No HOT WORK permit is needed.

- Can HOT WORK be permitted in a designated area (e.g., Maintenance Area)

Examine designated area, then complete HOT WORK there. No HOT WORK permit is required.

- Is the proposed work to be performed in a non-designated area (e.g., not in Maintenance Area)?

Obtain a written HOT WORK permit.

- Is the proposed work to be performed in a non-permissible area

HOT WORK permit are not authorized

- Obtain a written HOT WORK permit.

No

Yes

Yes

Yes

Yes

No

No

No